## Solar System Device1 Calculate
IO-Power Cloudy Weather Collection Model Solar Energy System Calculation Formula (C-LiFePO4 Lithium Batteries)
Item | Single Device Power Consumption |  | Day & Night Consumption Time Definition |  | Day & Night Power Consumption |  | 1 Day Total Power Consumption Watts | Expect Rainy Days | Device Operation |  | 3 Years Battery Aging Decay Rate Plus C-LiFePO4 Lithium Batteries used 3 Years Down to 90% Capacity Calculations | Operation Design |  | Design of Battery Capacity Ah 12.8V Definition | Solar Charging Hours Definition At the Lowest Sunshine Time Definition | Design of Solar Panel Total Wattage | Remark
| Day | Night | Day | Night | Day | Night |  |  | 3 | Days |  | 3 | Days
| 09:00-16:00 | 17:00-08:00 | 09:00-16:00 | 17:00-08:00 | Power consumption Watts |  |  |  | Total Power Consumption Watts |  |  | Total Power Consumption Watts
Blue Area Please Fill in Your Data | 3 | 6 | 12 | 12 | 36 | 72 | 108 | 3 | 324 |  | 120% | 388.8 |  | 30.375 | 4 | 151.875 | 3 Years Do Not Need to Replace the Battery
Ps: IO-Power Cloudy Weather Collection Model Solar Energy System AM 09:00 ~ PM 04:00 Can Collect Small Solar Power Energy to Provide Device Operation Power and to Charge Battery
General Model Solar Energy System Calculation Formula (Deep Cycle Lead Acid Battery)
Item | Single Device Power Consumption |  | Day & Night Consumption Time Definition |  | Day & Night Power Consumption |  | 1 Day Total Power Consumption Watts | Expect Rainy Days | Device Operation |  | 3 Years Battery Aging Decay Rate Plus Deep Cycle Lead Acid Battery used 1 year Down to 60-70% Capacity Calculations | Operation Design |  | Design of Battery Capacity Ah 12V Definition | Solar Charging Hours Definition At the Lowest Sunshine Time Definition | Design of Solar Panel Total Wattage | Remark
| Day | Night | Day | Night | Day | Night |  |  | 3 | Days |  | 3 | Days
| 09:00-16:00 | 17:00-08:00 | 09:00-16:00 | 17:00-08:00 | Power consumption Watts |  |  |  | Total Power Consumption Watts |  |  | Total Power Consumption Watts
Orange Area Will be Automatically Filled in | 3 | 6 | 7 | 17 | 21 | 102 | 123 | 3 | 369 |  | 180% | 664.2 |  | 55.35 | 4 | 259.4531 | At Least 3 Years Should be Replaced 3 Batteries
Ps: General Li-Ion Solar DC UPS calculation is simmilar Deep Cycle Lead Acid Battery
General Model Solar Energy System Calculation Formula (General Lead Acid Battery)
Item | Single Device Power Consumption |  | Day & Night Consumption Time Definition |  | Day & Night Power Consumption |  | 1 Day Total Power Consumption Watts | Expect Rainy Days | Device Operation |  | 3 Years Battery Aging Decay Rate Plus General Lead Acid Battery used 0.5 year Down to 50% Capacity Calculations | Operation Design |  | Design of Battery Capacity Ah 12V Definition | Solar Charging Hours Definition At the Lowest Sunshine Time Definition | Design of Solar Panel Total Wattage | Remark
| Day | Night | Day | Night | Day | Night |  |  | 3 | Days |  | 3 | Days
| 09:00-16:00 | 17:00-08:00 | 09:00-16:00 | 17:00-08:00 | Power consumption Watts |  |  |  | Total Power Consumption Watts |  |  | Total Power Consumption Watts
Red Area Will be Automatically Filled in | 3 | 6 | 7 | 17 | 21 | 102 | 123 | 3 | 369 |  | 220% | 811.8 |  | 67.65 | 4 | 317.1094 | At Least 3 Years Should be Replaced 6 Batteries